## Slide 1: Machine learning modeling of lung mechanics: j assesing the variability and propagation of uncertainties
Daniel E. Hurtado, Ph.D.
Visiting Professor, MIT
Associate Professor, P. Universidad Católica de Chile
February 6th, 2023

## Slide 2
Notes: According to the World health organization, diseases that affect the respiratory system are the third, foruth and fifth cause of death worldwide.
That may not be seen as urgent. Sure, people die everyday because for some reason. But perhaps what looks more compelling to me is the following:
Take Chronic Obstructive Pulmonary Disease. There are about 75-100 million cases diagnosed today. That is bad. But what is really bad is that this is not the final number: recent studies have shown that COPD has a very large rate of underdiagnosis, and the actual number of COPD patients can be up to 300 million worldwide. And the cause of this underdiagnosis is the low sensitivityof current testing methods.
Now, take COVID-19, which can be classified in the lower respiratory infections group. While only 5 million deaths have been confirmed,

## Slide 3: Heterogeneous lung response in ARDS patients
What are the reasons of this high variability?
Bassi et. al. (2021)

## Slide 4: Digital twins for healthcare
Laubenbacher et. al. (2021)

## Slide 5: Whole-lung modeling

## Slide 6: Respiratory failure & mechanical ventilation
Can we construct clinically-relevant lung models,
informed by images + biomechanics?
Notes: Mechanical Ventilation has been the key treatment for COVID-19 patients under acute respiratory failure.
During the worst times of the pandemic, up to 90% of patients in Intensive Care Units required invasive mechanical ventilation
The big problem: for the same protocol, the patient response was very heterogeneous. Current assessment methods were not enough.
The question is: can we construct digital replicas of the patient’s lung to predict their behavior, optimize therapy design, and improve clinical outcomes?

## Slide 8: Tissue models + finite-element simulations

## Slide 9: Predicting lung response under MV

## Slide 10: Integrating Machine learning

## Slide 11: Lung modeling + Machine learning
Can we integrate Machine learning into these constructed lung models?

## Slide 12: A multi-fidelity machine learning framework
Low fidelity lung
High fidelity lung
HF dataset
LF dataset
training
- Constitutive lung tissue
- Chest-wall stiffness
- Porous parenchyma
Model parameters
- Single-fidelity GP
- Multi-fidelity GP
- Neural networks
ML surrogate models
Emukit (2019), Maritz et al. (2018)

## Slide 13: Advantages of adopting a multi-fidelity approach
Multi-fidelity GP exhibits highest performance in predictions (lower errors).
Efficiency: speed up ~ 970000x with high-fidelity FEM simulations.
  It is a ML surrogate model !!!

## Slide 14: ML model for uncertainty quantification
Low fidelity lung
High fidelity lung
HF dataset
LF dataset
training
- Constitutive lung tissue
- Chest-wall stiffness
- Porous parenchyma
Model parameters
- Single-fidelity GP
- Multi-fidelity GP
- Neural networks
ML surrogate models
Sensitivity Analysis
Main Effects
Uncertainty Quantification
predictions
Our trained ML model allows us to perform thousands of evaluations in a small amount of time!

## Slide 15: Sensitivity Analysis (SA)
Analyze the sensitivity of lung response respect to model parameters
Variance decomposition
Sobol’ indices
Notes: Based on this simple model, physiologist can now connect diseases to whole-lung function. One classical test for stdying lung function are the P-V curves obtained froma supersyringe procedure. Interestingly, the case of lung elastance, there are significant differences between normal , emphysematous and fibrotic lungs.

## Slide 16: Main Effects (ME)
Information on how each parameter affects the lung response.
Decreasing non-linear behavior between chest wall parameter and .
Strong influence of permeability 𝑘 on airways resistance .
Null influence of some constitutive model parameters ( and ).
Notes: Based on this simple model, physiologist can now connect diseases to whole-lung function. One classical test for stdying lung function are the P-V curves obtained froma supersyringe procedure. Interestingly, the case of lung elastance, there are significant differences between normal , emphysematous and fibrotic lungs.

## Slide 17
Uncertainty Quantification (UQ)
Quantify the impact on lung response.
Compute response distributions
𝑝(𝒚)=𝑝(𝑓(𝑿))
(25% uncertainty in constitutive tissue parameter )
Propagate uncertainties in model parameters

## Slide 18: Predicting regional & global lung mechanics
Higher variabilities in compliance are mainly due to uncertainties in model parameters and
Higher variabilities in resistance are only due to uncertainty in model parameters
Higher variabilities when considering uncertainties in all parameters simultaneously.
  For changes to a Gaussian shape distribution.

## Slide 19: Closure & Outlook

## Slide 20
Big time for pulmonary research/modeling
FE poromechanical model: recovers lung mechanics, suitable for clinical applications. Personalization?
Multiscale modeling: framework to explain structure-function relations. Validation?
Currently exploring lung-diaphragm interaction for informing implatable-device design!

## Slide 21
Thank you!
dhurtado@ing.puc.cl